Building Requirements

- Permit Application:   Signed and Completed                                          Project cost, Square foot  for  project and building plans

- Self-Work Affidavit:  Owner must live at that residents for a  of minimum 2 years                                                                                     Or

- Contactor Affidavit:  Copy of Georgia State License Required

- Parcel #  / Site Address   (Address most be posted on site)

- Current codes  2018 Residential codes / City Ordinances,

- Floor Plan: Size / Dimension

- Electrical Plans:  Showing Lights, G.F.C.I Protection if Supplied

- Roof and Framing:  Showing Materials, Header Size, Point Loads, hold-down’s and anchors

(Hold down straps are Required to Secure a Positive     connection between the Roof and the Walls)

- Outside Elevations  Dimensions, Materials

- Foundation Plan. Holds down straps are required to prevent up                     lift of the structure.

(Typically Buildings would be positively secured to the foundation / However Mobile Hold down straps could also be used. As long as they are capable of withstanding 90 mph winds in exposure zone C with a 3 second gust)

(Typically one Foot width one foot deep footing would work               for most light weight structure.)

Site Plan Requirements

- Permit Application:  Signed and Completed

Project cost, Square foot for project and building plans

- Self-Work Affidavit:  Owner must live at that residents  for a  of minimum 2 years

Or

- Contactor Affidavit:  Copy of Georgia State License Required

- Site Plan   (Birds Eye view of the Property)

- Parcel #  /  Site Address (Address most be posted on site)

- Cross Street

- Parcel Size and Dimensions:

- Distance between Structures

- Set-backs: Distance from lot lines

- Easements (Drainage, Egress, Public Utilities, etc.)

- Elevation Changes

- Driveway and/or walkways   (i.e.:  Gravel / Concrete)

- Septic Location or Public Utility Lines

- Fences / Culverts

- Proposed Building Site

Section 802.  Accessory Use or Structure.

Customary residential accessory buildings and uses are permitted in residential districts, provided they meet the following requirements:

(a)	Accessory uses, excluding accessory structures specifically designed for the parking and storing of motor driven vehicles, shall be located in a rear yard or side yard and no closer than ten (10) feet to a principal building.

(b)	Accessory buildings shall not exceed twenty-four (24) feet in height and shall conform to the Property Appearance Standards.

(c)	Accessory buildings and structures shall be located a minimum of ten (10) feet from any side or rear property line.

(d)	In no case shall an accessory building or structure exceed 75 percent of the square footage of the principal building or structure.

(e)	In all residential zoning districts, accessory structures must be constructed in conjunction with or after a building permit for the principal building is lawfully approved; further such structures shall not be used for any type of commercial operation.

** Please be advised that this document contains very minimal and basic information. This should only serve as a guide containing                     helpful information. These document mats not contain all necessary requirements for your specific project **