Site Plan Requirements

- Permit Application:  Signed and Completed

Project cost, Square foot for project and building plans

- Self-Work Affidavit:  Owner must live at that residents  for a  of minimum 2 years

Or

- Contactor Affidavit:  Copy of Georgia State License Required

- Site Plan   (Birds Eye view of the Property)

- Parcel #  /  Site Address (Address most be posted on site)

- Cross Street

- Parcel Size and Dimensions:

- Distance between Structures

- Set-backs: Distance from lot lines

- Easements (Drainage, Egress, Public Utilities, etc.)

- Elevation Changes

- Driveway and/or walkways   (i.e.:  Gravel / Concrete)

- Septic Location or Public Utility Lines

- Fences / Culverts

- Proposed Building Site

Building Requirements

- Permit Application:   Signed and Completed                                          Project cost, Square foot  for  project and building plans

- Self-Work Affidavit:  Owner must live at that residents  for a  of minimum 2 years                                                                                     Or

- Contactor Affidavit:  Copy of Georgia State License Required

- Parcel #  / Site Address   (Address most be posted on site)

- Current codes  2018 Residential codes / City Ordinances,

- Floor Plan: Size / Dimension

- Electrical Plans:  Showing Lights, G.F.C.I Protection if Supplied

- Roof and Framing:  Showing Materials, Header Size, Point Loads, hold-down’s and anchors

(Hold down straps are Required to Secure a Positive     connection between the Roof and the Walls)

- Outside Elevations Dimensions, Materials. Foundation Plan. Holds down straps are required to prevent up lift of the structure.

(Typically Buildings would be positively secured to the foundation / However Mobile Hold down straps could also be used. As long as they are capable of withstanding 90 mph winds in exposure zone C with a 3 second gust)                                                                                       *(Typically one Foot width one foot deep footing would work for most light weight structure.)

- Decks and roofs used with any manufacture building most be completely free supporting.

- Stair and hand rail details are available upon request

** Please be advised that this document contains very minimal and basic information. This should only serve as a guide containing                     helpful information. This document does not contain all necessary requirements for your specific project **