
	
	Property Condition Checklist
	
	
	

	
	
	
	
	

	Year built:
	
	Date:

	
	
	

	Property Information
	Qualification Observations
	Yes
	No
	N/A

	
	
	
	
	

	
	Property Vacant and/or Abandoned
	
	
	

	
	Property a Nuisance due to Abandonment or Adverse Condition
	
	
	

	
	
	
	
	

	Inspectable Item
	Observable Deficiency
	Yes
	No
	N/A

	
	Air Quality - Sewer Odor Detected
	
	
	

	
	Air Quality - Propane/ Natural Gas/ Methane Gas Detected
	
	
	

	
	Electrical Hazard 
	
	
	

	
	Excessive Materials/ Abandoned Vehicle/ Toxic Substance/ Tires
	
	
	

	
	Hazards - Other:
	
	
	

	Grounds
	Erosion/ Rutting/ Holes/ Irregular Grade/ Overgrown Vegetation
	
	
	

	
	Litter/ Garbage/ Trash/ Debris Accumulation/ Illegal Dumping
	
	
	

	Parking/ Driveways
	Cracks/ Displacement/ Damaged/ Poor Drainage
	
	
	

	
	Settlement/ Heaving/ Trip Hazard/ Loose Material
	
	
	

	Walkways/ Steps
	Cracks/ Spalling/ Settlement/ Heaving/ Safety Hazard
	
	
	

	
	Missing/ Damaged Decking/ Guardrail/ Handrail/ Unsafe
	
	
	

	Doors
	Damaged Frames / Thresholds / Lintels / Trim / Hardware
	
	
	

	
	Missing / Inadequate / Noncompliant Door
	
	
	

	Windows
	Damaged Sills / Frames / Lintels / Trim / Missing / Cracked Panes
	
	
	

	
	Damaged / Inoperative / missing windows
	
	
	

	Retaining Walls
	Damaged/ Falling/ Leaning/ Failure/ Unsafe
	
	
	

	Foundations
	Exposed Rebar / Structural Failure
	
	
	

	
	Cracks / Gaps / Finish Deterioration / access damaged / Missing
	
	
	

	
	Debris / Trash / Vermin in Crawl Space
	
	
	

	Walls
	Missing / Damaged Pieces / Holes / Spalling / Cracks / Gaps
	
	
	

	
	Missing / Damaged Caulking / Mortar / Paint / Stained / Mold
	
	
	

	
	Leaning / Loose / Structural / Failed Components
	
	
	

	
	Damaged / Deteriorated Chimney / Cap
	
	
	

	Stairs
	Damaged / Missing / Uneven / Noncompliant Steps
	
	
	

	
	Broken / Missing / Noncompliant Hand Railing
	
	
	


	Roof
	Missing / Damaged Shingles or Roof Coating
	
	
	

	
	Damaged Flashing / Ponding / Poor Drainage
	
	
	

	
	Damaged Soffits / Fascia / Vents
	
	
	

	
	Structural Failure / Rotting / Damaged Materials
	
	
	

	Patio / Porch / Balcony
	Mailbox Missing/ Damaged/ Address Number Missing
	
	
	

	
	Cover Damage / Deteriorated / Unsafe
	
	
	

	
	Guard Railing Damaged or Missing
	
	
	

	Electrical
	Missing / Damaged / Inoperative Receptacles / Covers
	
	
	

	
	Missing / Damaged / inoperative Light Fixtures / Bulbs
	
	
	

	Crawl Space
	Missing / Damaged / Ineffective Access Door
	
	
	

	
	Missing / Damaged / Inadequate Ventilation
	
	
	

	
	Non-Code Compliant Clearances, Wood to Earth Contact
	
	
	

	
	Structural failure / Rotting / Damaged / Missing Materials
	
	
	

	
	Standing Water / Mold / Mildew / Trash / Debris / Rodents
	
	
	

	Domestic Water
	Water Service Turned-Off / Disconnected / Terminated at Meter
	
	
	

	
	Water Supply Inoperative / Leaking / Missing Shut Off Valve
	
	
	

	Sanitary Water
	Sanitary Service terminated / Capped Underground
	
	
	

	Electrical System
	Electrical Service Turned Off / Disconnected / Terminated at Poll
	
	
	

	
	Panel Missing / Damaged / Inoperative / Burnt Breakers / Fuses
	
	
	

	
	Damaged Meter Can / Service Riser / Weather Head / Drip Loop
	
	
	

	
	Corrosion / Old Dated Panel / Service Entrance / Panel Not Secure
	
	
	

	Gas
	Gas Service Turned Off / Disconnected / terminated Underground
	
	
	

	HVAC
	Properly  hooked up and Working
	
	
	

	
	Missing / Damaged / Inoperative / Damaged Duct / Registers / T-Stat
	
	
	

	Water Heater
	Missing / Damaged / Inoperative / Unsafe / Leaking / Deteriorated
	
	
	

	Bathroom
	Missing/ Damaged/ Unsafe/ Deteriorated Cabinets & Counter Top
	
	
	

	
	Unsafe/ Damaged/ Deteriorated Walls/ Floor/ Ceiling
	
	
	

	
	Plumbing: Damaged/ Inoperative/ Leaking Fixtures
	
	
	

	Stairs
	Unsafe/ Damaged/ Deteriorated 
	
	
	

	
	
	
	
	


                  Date:   
______________________
       Inspector’s Name  




