- Permit Application:  Signed and Completed

- Contactor Affidavit:  Copy of Georgia State License

- Letter of Intent

- North Arrow

- Scale (i.e.:  1” = 10’)

- Parcel #  / Address

- Parcel’s Current Use (i.e.:  residential, vacant, etc.)

- City of Cornelia Zoning Requirements

- Distance from Property Lines:  All Sides, All Structures

- Parcel Dimensions:  All Sides

- Soil type / Capacity

- Dimensions of Lot, including, but not limited to, Structures.

(Recorded Plat is Preferable)

- Set-backs:  Distance Between Structures & Lot Lines

- Building’s Intended Use (i.e.:  Residence, Utility, Commercial, etc.)

- Cross Street

- Easements (Drainage, Egress, Public Utilities, etc.)

- Elevation Changes

- Driveway and/or walkways (i.e.:  Gravel / Concrete)

- Septic Location or Public Utility Lines

- Fences / Culverts

- Permit Application:  Signed and Completed

- Contactor Affidavit:  Copy of Georgia State License

- Letter of Intent

- Site Plan

- Plan per Scale (i.e.:  1” = 10’)

- Parcel #  / Address

- Current codes (i.e.:  IRC 2018, City Ordinances, GA. Accessibly, etc.)

- Floor Plan:  Including, but not limited to, Dimensions, Egress, Smoke detection, etc.

- Electrical Plans:  Service location / Size, Arc Fault and G.F.C.I. Protection

- Ventilation

- Vapor Barrier

- Mechanical Plans:  Unit size, combustible air calculations

- Roof and Framing Plans:  Materials, Header Size, Point Loads

- Outside Elevations dimensions, materials

- Foundation Plan , Showing footing size, hold downs, point loads

- Deck / Stair / Railing / Head Room / Landing / Hangers / Hold-down’s

- Energy Compliance:  Residential Checklist; R-38 ceiling, R-19 floor, R-13 walls

- Egress / Lighting

Please note the Following Important Information: Please note the Following Important Information:

All of the above requirements are required by Georgia State Law!!                                                            All of the above requirements are for YOUR PROTECTION!!                                                                         Should you have ANY questions, please call Robert Gutowski at 706/894 - 3075

Snow Load = 10lbs.                                                                              Seismic Category = C                                                                              Wind Speed = 90mph                                                                          Minimal frost Line = 12-inches                                             Wind Exposure C                                                                                 Minimal footing size 1 cubic foot                                           Minimal live Roof loads   10 lbs per Sqft                                               Minimal deck live load 40 lbs per Sqft